EQUIPMENTS SET UP AT UNIVERSITA’ DEGLI STUDI DI PALERMO (IT)

FOR EXPERIMENTS ON MIP (MW-INDUCED PYROLYSIS)

OF SOLID OR LIQUID WASTE, AND OF LOOSE CONTAMINATED SOILS

| EQUIPMENT | PICTURE | APPLICATION / USE AND POSITION |
| --- | --- | --- |
| Microwave professional kitchen oven, FIMAR (1 600 W; Nr. 1 magnetron; 5 power levels). 2x. |  | Disinfection of medical waste. At Dipartimento di Scienze per la Promozione della Salute “G. D’Alessandro”, University Polyclinic Hospital. |
| Microwave laboratory oven, CEM MARS Xpress (1 600 W; PTFE test tubes) |  | For small pasty samples. At DICAM – Dipartimento di Ingegneria Civile, Ambientale etc. |
| MILESTONE Pyro XL microwave laboratory furnace (1 200 W; up to 900 °C), fitted with one 50 cm3 quartz crucible. |  | Pyrolysis of granular waste samples; with two separate paths for cooling and process gases. At DICAM. |
| Self- designed, built and tuned bench prototype for high intensity waste treatment (up to “HT cold plasma” generation). |  | Destruction of VOCs. At Dipartimento di Fisica e Chimica. |
| Steam generator, 1 kg/h, 1.6 bar. |  | Oriented gasification. At Dipartimento di Fisica e Chimica. |
| Heating and Cooling Thermostat LAUDA Eco RE 630 with Silver control head . |  | Cooling of the output process gases and condensation of the vapours. At Dipartimento di Fisica e Chimica. |
| Gas Chromatograph Agilent 6890N, fitted with one Mass Spectrometry Module + Thermo-Conductivity + Flame Ionization. |  | Liquid and gaseous Products analysis. At DICAM. |
| Mass flow meters (BRONKHORST Mass- View®, max equivalent air flow 20 N-dm3/min and ALICAT M, 10 dm3/min). |  | Inlet gas flow measurement . At DICAM and Dipartimento di Fisica e Chimica. |
| Cryogenic grinder RETSCH® Cryomill (feed quantities up to 20 ml; vibrational frequency 300 - 1800 min-1). |  | Sample size reduction, mixing and homogenization. Cryogenic (with liquid N2), wet and dry grinding at room temperature. At DICAM. |
| Line of condensers and washing flasks for condensable gaseous products. |  | Fractional recovery of gaseous products for following analysis. At DICAM and Dipartimento di Fisica e Chimica. |

NOTE: If needed, a Thermo-gravimetric Analyzer is also available at DICAM.